## Slide 1: Referencing Schemes

## Slide 2: Options
External reference
Device reference

## Slide 3: External reference
Connect a needle probes to Ref1 or Ref2
Orange circles indicate the down position of the switches
The configuration makes it so that none of the depth electrodes are connected to reference
Front Side
Switches
Intan Amplifier
64 chan
Ref and Gnd Connections

## Slide 4: Depth Channel Reference
Ensure that the macro electrode are connected to the inner ribbon channels are indicated by the arrows
Positions the switches are according to the orange dots
Front Side
Switches
Intan Amplifier
64 chan
Ref and Gnd Connections
Macro electrode
Back Side